## Slide 1
CPMG relaxation dispersion
Resolving the simulator – ChemEx disagreement
Root cause identified and corrected — pᴮ recovery improved from –46% to +1.7%
Weekly progress update • work since the last meeting
Notes: 15 minutes. Headline: the disagreement was NOT a physics error in our simulator — it was a pulse-sequence convention mismatch. Found it by comparing the two Liouvillians directly.

## Slide 2
Where we left off
State at the last meeting — ChemEx could not recover the ground truth we generated
Grouped fits over 1500 synthetic profiles (100 groups × 15 residues, two fields) showed a large, reproducible bias — worst in the minor-state population:
–46.0%
pᴮ (minor population)
fitted ≈0.03 vs true 0.05–0.07
+12.2%
kₑₓ (exchange rate)
systematically overestimated
+13.9%
Δω (chemical shift diff.)
systematically overestimated
The open question
Was this a genuine physics difference — our 32×32 Allard treatment vs. ChemEx's reduced model — or a bug/convention mismatch somewhere in the pipeline? The bias was too large and too systematic to be statistical.
Everything that follows is the answer to that question.
Notes: Recap only — 60 seconds. These are the numbers from the plots I showed last time.

## Slide 3
Approach
Strip the comparison down until only one thing can differ at a time
1
Audit our physics against the source paper
Line-by-line check of the simulator against Allard, Helgstrand & Härd (1998), verified symbolically with SymPy.
2
Compare the two Liouvillian matrices directly
Not curves, not fits — the actual matrices, in a limit where both codes must agree.
3
Compare forward models with no fitting
Removes the optimiser as a source of disagreement entirely.
4
Match the pulse sequence, then refit
Implement ChemEx's own sequence in our simulator so physics is the only remaining variable.
Notes: The logic: each step removes one possible explanation. By step 4 only the physics model can differ.

## Slide 4
1
Audit against Allard et al. (1998)
Does our implementation actually match the paper it is based on?
Bug found: missing √3
The DD–CSA cross-correlation prefactor was short by a factor of √3 relative to Allard Eq. 33–34:
A_d · A_c = √(9d² · 3c²)
This feeds η_z and η_xy — the cross-correlation rates.
Verified, not guessed
Confirmed symbolically with SymPy using correctly-signed constants (γ_N < 0, σ_N < 0), giving an exact ratio of √3.
Cross-checked against μ_mq, which was already correct — ruling out an error in my own method.
Fixed in 5 places — cpmg_ml/simulator.py plus four GUI variants that each carried their own copy of the formula. All re-verified after the change.
Everything else checked out
r₂(N), r₁(N), σ, μ_mq and the Bloch–McConnell exchange block all match the paper exactly. So the simulator's physics was sound — the √3 alone could not explain a –46% pᴮ bias.
Notes: Important: this was a real bug worth fixing, but it does NOT explain the ChemEx disagreement. It vanishes at the magic angle anyway. Say so explicitly.

## Slide 5
2
What matrix does ChemEx actually use?
Reading the ChemEx source rather than assuming
Ours — 32 × 32
16 Cartesian product operators per state, × 2 exchanging states:
E, Hₓ, Hᵧ, H_z, Nₓ, Nᵧ, N_z,
2HₓN_z … 2H_zN_z
Includes the proton bath, antiphase and multiple-quantum coherences.
ChemEx cpmg_15n_ip — 6 × 6
Basis(type="ixyz") → only three operators per state:
Nₓ, Nᵧ, N_z (× A, B)
No proton in the basis at all. No J-coupling, no CSA–DD cross-correlation — those transitions are silently filtered out.
Why this matters
ChemEx is already the collapsed limit, structurally. So a meaningful comparison has to be made in the regime where our 32×32 reduces to that same 6×6: J = 0, CSA–DD angle at the magic angle, dipolar coupling switched off. That is exactly the idealised single-spin case discussed at the last meeting — it turns out to be the right controlled experiment, not just a sanity check.
Notes: Key realisation. ChemEx's cpmg_15n_ip has no proton operator whatsoever. Its transition table defines cross-correlation terms but the basis filter drops them.

## Slide 6
2
The 32 × 32 collapses exactly as predicted
Which operators actually feed the observable? (dependency closure, computed not assumed)
Condition | Propagator | Closed subspace | Dim
Realistic (J=92 Hz, θ=22°, r=1.02 Å) | free precession | Nₓ, Nᵧ, 2H_zNₓ, 2H_zNᵧ | 8
Realistic | + 180°ₓ pulses | E, H_z, Nₓ, Nᵧ, N_z, 2H_zNₓ, 2H_zNᵧ, 2H_zN_z | 16
Idealised (J=0, magic angle, r→∞) | free precession | Nₓ, Nᵧ | 4
Idealised | + 180°ₓ pulses | E, Nₓ, Nᵧ, N_z | 8
The collapse, stated precisely
Under the idealised conditions the observable's dynamics live entirely in {E, Nₓ, Nᵧ, N_z} × {A,B} — 8 of the original 32 dimensions. ChemEx's basis omits the identity E altogether, leaving {Nₓ, Nᵧ, N_z} × {A,B} = 6. Exactly ChemEx's matrix.
Note the realistic row: 16 dimensions, including antiphase and two-spin order. ChemEx's 6×6 cannot represent that case at all.
Notes: This is the rigorous version of 'the matrix collapses'. Computed the dependency closure from the observable, didn't eyeball the sparsity pattern.

## Slide 7
3
The two matrices are identical
Same idealised conditions, both matrices printed and compared element by element
Eigenvalues of the 6 × 6 block — basis-independent, the strongest test
Ours (Allard 32×32, collapsed) | ChemEx (ixyz 6×6) | Mode
–300.5359 | –300.5359 | longitudinal exchange
–288.7159 ± 759.2445i | –288.7169 ± 759.0113i | state-B transverse
–15.1426 ± 4.9910i | –15.1416 ± 4.9922i | state-A transverse (observed)
–0.5359 | –0.5359 | R₁ relaxation
0.03%
largest disagreement
and it is a units convention, not physics
The only two differences
• Sign of Δω — opposite rotation convention. R₂,eff depends on Δω², so no observable is affected.
• |Δω| differs by 0.03% — we use γ_N/γ_H, ChemEx uses the IUPAC Ξ ratio.
Conclusion: the physics engines agree. The disagreement must be downstream of the matrix.
Notes: This is the pivot of the whole investigation. Once the matrices matched, the search moved to the pulse sequence.

## Slide 8
4
The real bug: pulse-sequence conventions
Same Liouvillian, two different sequence definitions — and two different meanings of ncyc
 | Our simulator | ChemEx cpmg_15n_ip
Refocusing pulses per labelled ncyc | ncyc | 2 × ncyc (two mirrored half-trains)
τ_cp | (T – ncyc·t₁₈₀) / (2·ncyc) | time_t2/(4·ncyc) – pw90
Reported ν_CPMG | 1/(4τ_cp) pulse-width exclusive | ncyc/time_t2 pulse-width inclusive
Excitation / detection | starts on Nₓ, reads Nₓ | explicit 90° pulses, t_neg, time_equil
Two concrete errors in the config
• ncyc was off by a factor of 2 — ChemEx read our labels as half the actual pulse count.
• time_t2 was 0.068 s but the data was generated with t_relax = 0.04 s, rescaling every extracted rate by 0.588.
To be clear about τ_cp
Our τ_cp does correctly subtract the finite pulse width — that was never the bug. The 'exclusive vs inclusive' distinction concerns only the frequency value printed on the x-axis, not the propagation.
Notes: Anticipate the question 'does your tau_cp ignore pulse widths?' — no, it doesn't. The right-hand card pre-empts that.

## Slide 9
The two pulse sequences, side by side
Now both implemented in the simulator — selectable with a single argument
Notes: Panel (a) is our idealised train — no excitation or detection pulses. Panel (b) is ChemEx's: 90 excitation, t_neg correction, two mirrored half-trains around the phase-cycled 180±x, then 90 and detection.

## Slide 10
5
Matched-sequence mode
So that sequence and physics can finally be separated
sim.simulate_cpmg(params, sequence="home")
sim.simulate_cpmg(params, sequence="chemex")
A second real bug, caught here
Validation left a stubborn ~5% residual that no sign convention would remove. Ablation traced it to the detection operator: ChemEx sets suffix_detect = "_a", so it detects ONLY the ground state's N_z — not the population-weighted sum over both states.
Effect of that one line
Matching the detection convention reduced the discrepancy by a factor of 77 — from ~5% down to 0.066%, which is the level of the known 0.03% gyromagnetic-ratio difference.
At that point there is no residual bug on either side.
Both sequences run through the same 32×32 Allard physics, so switching modes changes the sequence and nothing else.
The 'home' mode is unchanged and regression-tested identical, so all earlier results remain reproducible.
Notes: Worth dwelling on the detection-operator bug — it is the kind of thing only a direct code-level comparison would ever surface.

## Slide 11
Forward models with the sequence controlled
No fitting anywhere — curve 2 vs 3 isolates physics, curve 1 vs 2 isolates sequence
Idealised: curves 2 and 3 agree to 0.066%. Full physics: a 20.6% gap in Rₑₓ remains (10.48 vs 7.20 s⁻¹) — same sequence, so this is physics alone.
Notes: Left panel: green and orange sit on top of each other — proof there is no bug left. Right panel: they separate even though the sequence is identical, which is the real physics difference.

## Slide 12
Refitting all 1500 profiles
Dataset regenerated with ChemEx's own sequence, then fitted by ChemEx — 100/100 groups converged
Recovery
pᴮ +1.72% ± 5.77%
kₑₓ –1.99% ± 10.05%
Δω –0.008 ppm
All 100 grouped fits converged.
One honest caveat
4 groups (all near kₑₓ ≈ 1250–1430 s⁻¹) land on the classic fast-exchange kₑₓ / pᴮ degeneracy — CPMG constrains their product, not each separately. A real NMR limitation, not a fitting failure.
Notes: Mention the 4 degenerate groups voluntarily — better raised by me than found by him.

## Slide 13
Net effect on parameter recovery
Same 100 grouped fits, measured at each stage of the investigation
pᴮ bias reduced from –46% to +1.7%; kₑₓ from +12.2% to –2.0%. Most of the remaining spread is the fast-exchange degeneracy, not model error.
Notes: The money slide. Two convention fixes account for essentially the whole original bias.

## Slide 14
Where this leaves us
Our Allard implementation is validated.
Matches ChemEx's Liouvillian to 0.03% — an independent, widely used reference code. One real bug (√3) found and fixed along the way.
The disagreement was conventions, not physics.
ncyc/time_t2 and the detection operator. Two fixes took pᴮ from –46% to +1.7%.
A quantified case for the 32×32 treatment.
With sequence fully controlled, ChemEx's 6×6 basis under-predicts Rₑₓ by 20.6% on realistic NH parameters — the proton bath, cross-correlation and J-coupling it cannot represent.
Also completed • Next
CW-CPMG simulator + GUI built from Hansen, Vallurupalli & Kay (JPCB 2008). — Next: extend the matched-sequence comparison to the TROSY experiment, and quantify how the 20.6% physics gap propagates into fitted parameters at realistic J.
Notes: Close on the 20.6% number — that is the scientific justification for the larger simulator, measured with everything else controlled.