Validation of the Allard-1998 CPMG Simulator against ChemEx

A term-by-term comparison of the relaxation Liouvillian in the idealised single-spin limit

Project: CPMG Relaxation-Dispersion Deconvolution    Date: 27 July 2026

Reference implementation: cpmg_ml/simulator.py  (Allard, Helgstrand & Härd, J. Magn. Reson. 134, 7–16, 1998)

Comparison target: ChemEx v2026.6.0, experiment cpmg_15n_ip

# 1.  Executive summary

The long-standing disagreement between our in-house CPMG simulator and ChemEx was suspected to be a difference in the underlying relaxation physics. This report shows that it is not.

Principal finding

In the idealised limit (J = 0, CSA–DD angle at the magic angle, dipolar coupling switched off), the 32 × 32 Liouvillian produced by our simulator collapses exactly onto the 6 × 6 Liouvillian that ChemEx constructs for cpmg_15n_ip. Every surviving matrix element agrees to within 0.03 %, and that residual traces to two different literature values for the 15N/1H gyromagnetic ratio — not to any difference in the physical model.

Because the two matrices are the same, any discrepancy in fitted exchange parameters must originate downstream of the Liouvillian — in the pulse-sequence and timing conventions. That was subsequently confirmed and corrected (Section 8), and the sequence itself was then reproduced exactly so that sequence and physics effects could be separated (Section 9).

| Question | Answer |
| --- | --- |
| Do the two codes use the same relaxation physics? | Yes — identical in the limit where both are applicable. |
| Is the 15N CSA-driven R2 expression the same? | Yes — algebraically identical, both give 1.929249 s⁻¹. |
| Is the exchange (Bloch–McConnell) block the same? | Yes — identical structure and values. |
| Are the eigenvalues the same? | Yes — all six agree to ~4 significant figures. |
| Where did the disagreement come from, then? | The pulse-sequence / ncyc timing convention (Section 8). |
| With the sequence matched too, do they agree? | In the idealised limit, to 0.066 % (Section 9). |
| And with realistic NH physics? | A 20.6 % Rex gap remains — the basis limitation, not a bug. |

# 2.  Initial assumed values

Both matrices were built from a single shared set of inputs, listed below. The three parameters in Section 2.4 are the idealising choices that force the collapse; everything else is a physically ordinary value.

## 2.1  Physical constants

| Symbol | Value | Meaning |
| --- | --- | --- |
| γH | +2.67522 × 10⁸ rad s⁻¹ T⁻¹ | 1H gyromagnetic ratio |
| γN | −2.7116 × 10⁷ rad s⁻¹ T⁻¹ | 15N gyromagnetic ratio (negative) |
| μ₀ | 4π × 10⁻⁷ H m⁻¹ | vacuum permeability (scipy) |
| ħ | 1.054572 × 10⁻³⁴ J s | reduced Planck constant (scipy) |

## 2.2  Experimental conditions

| Parameter | Value | Notes |
| --- | --- | --- |
| 1H Larmor frequency | 600.0 MHz | spectrometer field |
| B₀ | 14.091967 T | = 2π × 600×10⁶ / γH |
| ωH / 2π | −600.00 MHz | ωH = −γH B₀ |
| ωN / 2π | +60.82 MHz | ωN = −γN B₀ (positive, γN < 0) |

## 2.3  Relaxation / dynamics inputs

| Parameter | Value | Role |
| --- | --- | --- |
| τm | 5.0 × 10⁻⁹ s | global tumbling correlation time |
| τe | 5.0 × 10⁻¹¹ s | internal-motion correlation time |
| S² | 1.0 | order parameter — set to 1 deliberately (see note) |
| σN (csa_N) | −160 ppm | 15N chemical-shift anisotropy |
| r_eff | 1.79 × 10⁻¹⁰ m | effective 1H–1H distance (proton relaxation only) |

Why S² = 1

Our simulator uses the full two-term Lipari–Szabo spectral density, J(ω) = (2/5)[S²τm/(1+(ωτm)²) + (1−S²)τ/(1+(ωτ)²)]. ChemEx's internal model-free routine implements only the first term. Setting S² = 1 annihilates the second term in our code, so the two spectral densities become identical and the comparison isolates the matrix structure rather than the spectral-density convention.

## 2.4  Idealising choices (these force the collapse)

| Parameter | Idealised value | Realistic value | Consequence |
| --- | --- | --- | --- |
| J_IS | 0 Hz | 92 Hz | removes scalar-coupling in/anti-phase mixing |
| θ (CSA–DD) | 54.7356° (magic angle) | 22° | P₂(cosθ) = 0 → cross-correlation ηz, ηxy vanish |
| r_IS | 1 × 10⁻⁶ m | 1.02 × 10⁻¹⁰ m | d² falls by ~10²⁴ → dipolar terms vanish |

## 2.5  Exchange parameters

| Parameter | Value | Derived quantity |
| --- | --- | --- |
| k_ex | 300 s⁻¹ | — |
| p_B | 0.05 | p_A = 0.95 |
| ΔωN | 2.0 ppm | = −764.24 rad s⁻¹ (our sign convention) |
| k_AB | 15.0 s⁻¹ | = k_ex · p_B |
| k_BA | 285.0 s⁻¹ | = k_ex · p_A |

# 3.  How our matrix is calculated

## 3.1  Operator basis

We propagate the density operator in the 16-dimensional Cartesian product-operator basis of Allard et al. for a two-spin 1H–15N system. Index order as implemented:

0   E            (identity / equilibrium source)

1   Hx      2   Hy      3   Hz

4   Nx      5   Ny      6   Nz

7   2HxNz   8   2HyNz            (antiphase 1H)

9   2HzNx  10   2HzNy            (antiphase 15N)

11   2HxNx  12   2HxNy  13  2HyNx  14  2HyNy   (multiple quantum)

15   2HzNz                        (two-spin order)

Two chemically exchanging states A and B each carry a full copy of this basis, giving a 32 × 32 Liouvillian. (Row/column 0 and 16 are the identity terms, which do not evolve; the 30 remaining rows are the dynamical variables.)

## 3.2  Spectral densities

Evaluated at the six frequencies required by the relaxation expressions:

| J(ω) | Value (s rad⁻¹) | J(ω) | Value (s rad⁻¹) |
| --- | --- | --- | --- |
| J(0) | 2.000000 × 10⁻⁹ | J(ωH−ωN) | 4.629805 × 10⁻¹² |
| J(ωH) | 5.613157 × 10⁻¹² | J(ωH+ωN) | 6.946166 × 10⁻¹² |
| J(ωN) | 4.300752 × 10⁻¹⁰ | J(2ωH) | 1.406249 × 10⁻¹² |

## 3.3  Interaction strengths

d²   = (μ₀/4π)² · (ħ γH γN / r_IS³)²        dipolar

c²N  = (1/3) · (ωN · σN)²                     CSA

dc  = √3 · √(d²) · √(c²N) · P₂(cos θ)         DD–CSA cross-correlation

with  P₂(cos θ) = ½(3cos²θ − 1)

| Quantity | Realistic (r_IS = 1.02 Å, θ = 22°) | Idealised (r_IS = 1 µm, magic θ) |
| --- | --- | --- |
| d² | 5.196627 × 10⁹ | 5.852246 × 10⁻¹⁵ (≈ 0) |
| c²N | 1.245986 × 10⁹ | 1.245986 × 10⁹ (unchanged) |
| P₂(cos θ) | 0.7050 | 0.0 (exactly) |
| dc | non-zero | 0.0 (exactly) |

Note on the √3 factor

The √3 in dc was added following a separate audit against Allard Eq. 33–34, where Ad·Ac = √(9d² · 3c²N). It was verified symbolically (SymPy) and applied consistently across the simulator and all GUI variants. It does not affect the present comparison, because dc = 0 at the magic angle regardless.

## 3.4  Relaxation rates entering the 15N block

In the idealised limit (d² → 0) only the CSA contributions survive:

R2(N) = (d²/8)(4J₀ + Jₕ₋ₙ + 3Jₙ + 6Jₕ + 6Jₕ₊ₙ) + (c²N/6)(4J₀ + 3Jₙ)

↓ d² → 0

R2(N) = (c²N/6)(4J₀ + 3Jₙ)                     = 1.929249 s⁻¹

R1(N) = (d²/4)(Jₕ₋ₙ + 3Jₙ + 6Jₕ₊ₙ) + c²N·Jₙ

↓ d² → 0

R1(N) = c²N · Jₙ                                = 0.535868 s⁻¹

## 3.5  Assembly and exchange

Two 16 × 16 blocks are built — state A with zero offset, state B with the chemical-shift offset Δω — and placed on the diagonal of a 32 × 32 matrix. Bloch–McConnell exchange is then added to every dynamical index i = 1…15:

L[i,    i   ] −= k_AB          L[i,    i+16] += k_BA

L[i+16, i   ] += k_AB          L[i+16, i+16] −= k_BA

The identity rows (0 and 16) are deliberately excluded from exchange, since the identity operator is conserved.

# 4.  How the ChemEx matrix is calculated

ChemEx takes a structurally different route. Rather than deriving rates from a spin Hamiltonian at run time, it composes the Liouvillian as a weighted sum of fixed sparse “transition” matrices, each keyed to a named parameter.

## 4.1  The basis is chosen by the experiment

The cpmg_15n_ip module declares its basis in build_spectrometer():

basis = Basis(type="ixyz", spin_system="nh", model=config.model)

Looking up that type in ChemEx's basis registry gives:

"ixyz": ["ix", "iy", "iz"]           # i = 15N for spin_system "nh"

components × states = ['ix_a','iy_a','iz_a','ix_b','iy_b','iz_b']

Liouvillian size    = 6 × 6

This is the crux

ChemEx's cpmg_15n_ip contains no proton operator at all. There is no ie (identity), no 2izsz, no multiple-quantum term. Its basis is three 15N operators per state. Consequently it cannot represent scalar coupling, CSA–DD cross-correlation, or dipolar cross-relaxation for this experiment — those degrees of freedom simply do not exist in its state vector.

## 4.2  How terms are filtered out

ChemEx defines transitions such as etaxy_i, j_is_{state} and sigma_is_{state} in a global table, but each is admitted only if both of its operators are present in the chosen basis:

for start, end, value in _TRANSITIONS[transition_name]:

if {start, end}.issubset(basis.components):     # ← the filter

rows.append(...); cols.append(...); vals.append(value)

Because 2izsz, sx, sy, sz and ie are absent from ixyz, every cross-correlation, J-coupling and NOE transition is silently discarded. The matrices ChemEx actually instantiates for this experiment are exactly:

b1x_i, b1y_i, carrier_i, cs_i_a, cs_i_b, jeff_i,

kab, kba, offset_i, r1_i_a, r1_i_b, r2_i_a, r2_i_b, rotz_i

## 4.3  Free-precession Liouvillian

The matrix is then the parameter-weighted sum

L_free = Σ  matrix[name] × par_value[name]

+ offset and carrier terms

For the comparison we supplied ChemEx with the R1/R2 values our own expressions produce (1.929249 and 0.535868 s⁻¹) and the same k_AB, k_BA and Δω, then read out its assembled L_free directly — no fitting, no optimiser, no data.

# 5.  How the 32 × 32 matrix collapses

## 5.1  Which terms vanish, and why

| Coupling | Matrix elements | Vanishes because | Result |
| --- | --- | --- | --- |
| ηxy (DD–CSA transverse) | L[Nx, 2HzNx] L[Ny, 2HzNy] | dc ∝ P₂(cos θ) = 0 at magic angle | 0 |
| ηz (DD–CSA longitudinal) | L[Nz, 2HzNz] | same | 0 |
| σ (NOE cross-relaxation) | L[Hz, Nz] | ∝ d² → 0 as r_IS → ∞ | 0 |
| πJ (scalar coupling) | L[Nx, 2HzNy] L[Ny, 2HzNx] | J_IS = 0 | 0 |
| μmq (MQ cross term) | L[2HxNx, 2HyNy] | ∝ d² → 0 | 0 |

With all four coupling classes removed, the 15N single-quantum operators no longer communicate with the proton or two-spin manifold. The number of non-zero entries in each 16 × 16 block falls from 38 to 17.

## 5.2  Reachability analysis

The rigorous test is: starting from the observable (Nx in both states), which operators actually feed into its equation of motion, directly or indirectly? Computing the closure of that dependency:

| Condition | Propagator | Closed subspace | Dim |
| --- | --- | --- | --- |
| Realistic J=92 Hz, θ=22°, r=1.02 Å | free precession | Nx, Ny, 2HzNx, 2HzNy (× A,B) | 8 |
| Realistic | free + 180°x pulses | E, Hz, Nx, Ny, Nz, 2HzNx, 2HzNy, 2HzNz (× A,B) | 16 |
| Idealised J=0, magic θ, r=1 µm | free precession | Nx, Ny (× A,B) | 4 |
| Idealised | free + 180°x pulses | E, Nx, Ny, Nz (× A,B) | 8 |

The collapse, stated precisely

Under the idealising conditions, and including the CPMG refocusing pulses (which are what mix Ny into Nz), the dynamics of the observable are entirely contained in {E, Nx, Ny, Nz} × {A, B} — 8 of the original 32 dimensions. The identity E is a conserved source term that only drives R1 recovery toward equilibrium; ChemEx omits it from the ixyz basis altogether. Discarding E leaves {Nx, Ny, Nz} × {A, B} = 6 dimensions — precisely ChemEx's basis.

Note the contrast in row 2 of the table: under realistic conditions the closed subspace is 16-dimensional and includes antiphase and two-spin-order terms. ChemEx's 6 × 6 cpmg_15n_ip model is structurally incapable of representing that case — which is the correct scientific justification for our larger simulator.

## 5.3  Sparsity map of the idealised 32 × 32

Each 'X' marks an element with |L| > 10⁻⁹. Column index runs 0–31.

0         1         2         3

01234567890123456789012345678901

0   E_A   ................................

1  Hx_A   .X...............X..............

2  Hy_A   ..X...............X.............

3  Hz_A   X..X...............X............

4  Nx_A   ....X...............X...........   ← observable

5  Ny_A   .....X...............X..........

6  Nz_A   X.....X...............X.........

7 2HxNz_A .......X...............X........

8 2HyNz_A ........X...............X.......

9 2HzNx_A .........X...............X......

10 2HzNy_A ..........X...............X.....

11 2HxNx_A ...........X...............X....

12 2HxNy_A ............X...............X...

13 2HyNx_A .............X...............X..

14 2HyNy_A ..............X...............X.

15 2HzNz_A ...............X...............X

16   E_B   ................................

17  Hx_B   .X...............X..............

18  Hy_B   ..X...............X.............

19  Hz_B   ...X............X..X............

20  Nx_B   ....X...............XX..........   ← observable

21  Ny_B   .....X..............XX..........

22  Nz_B   ......X.........X.....X.........

23 2HxNz_B .......X...............X........

24 2HyNz_B ........X...............X.......

25 2HzNx_B .........X...............XX.....

26 2HzNy_B ..........X..............XX.....

27 2HxNx_B ...........X...............XX...

28 2HxNy_B ............X..............XX...

29 2HyNx_B .............X...............XX.

30 2HyNy_B ..............X..............XX.

31 2HzNz_B ...............X...............X

Every off-diagonal entry is either the A↔B exchange link (offset by 16) or, for state B, the Δω rotation between Nx and Ny. No operator couples the 15N single-quantum rows (4, 5, 20, 21) to the proton or two-spin rows.

# 6.  Side-by-side comparison

## 6.1  Our collapsed sub-block, {E, Nx, Ny, Nz} × {A, B}

E_A      Nx_A      Ny_A      Nz_A       E_B      Nx_B      Ny_B      Nz_B

E_A    0.0000    0.0000    0.0000    0.0000    0.0000    0.0000    0.0000    0.0000

Nx_A    0.0000  -16.9292    0.0000    0.0000    0.0000  285.0000    0.0000    0.0000

Ny_A    0.0000    0.0000  -16.9292    0.0000    0.0000    0.0000  285.0000    0.0000

Nz_A   -0.1086    0.0000    0.0000  -15.5359    0.0000    0.0000    0.0000  285.0000

E_B    0.0000    0.0000    0.0000    0.0000    0.0000    0.0000    0.0000    0.0000

Nx_B    0.0000   15.0000    0.0000    0.0000    0.0000 -286.9292  764.2356    0.0000

Ny_B    0.0000    0.0000   15.0000    0.0000    0.0000 -764.2356 -286.9292    0.0000

Nz_B    0.0000    0.0000    0.0000   15.0000   -0.1086    0.0000    0.0000 -285.5359

The E column carries only the R1 recovery source term (−0.1086 = 2·R1·γN/γH). Removing the two E rows/columns leaves exactly a 6 × 6 matrix.

## 6.2  Direct comparison on {Nx, Ny, Nz} × {A, B}

OURS (Allard 32×32, collapsed)

Nx_A      Ny_A      Nz_A      Nx_B      Ny_B      Nz_B

Nx_A  -16.9292    0.0000    0.0000  285.0000    0.0000    0.0000

Ny_A    0.0000  -16.9292    0.0000    0.0000  285.0000    0.0000

Nz_A    0.0000    0.0000  -15.5359    0.0000    0.0000  285.0000

Nx_B   15.0000    0.0000    0.0000 -286.9292  764.2356    0.0000

Ny_B    0.0000   15.0000    0.0000 -764.2356 -286.9292    0.0000

Nz_B    0.0000    0.0000   15.0000    0.0000    0.0000 -285.5359

CHEMEX (ixyz basis, cpmg_15n_ip)

Nx_A      Ny_A      Nz_A      Nx_B      Ny_B      Nz_B

Nx_A  -16.9292    0.0000    0.0000  285.0000    0.0000    0.0000

Ny_A    0.0000  -16.9292    0.0000    0.0000  285.0000    0.0000

Nz_A    0.0000    0.0000  -15.5359    0.0000    0.0000  285.0000

Nx_B   15.0000    0.0000    0.0000 -286.9292 -764.0036    0.0000

Ny_B    0.0000   15.0000    0.0000  764.0036 -286.9292    0.0000

Nz_B    0.0000    0.0000   15.0000    0.0000    0.0000 -285.5359

## 6.3  Element-by-element accounting

| Element | Ours | ChemEx | Origin | Agree? |
| --- | --- | --- | --- | --- |
| Nx_A, Nx_A | −16.9292 | −16.9292 | −(R2 + k_AB) | ✓ exact |
| Nz_A, Nz_A | −15.5359 | −15.5359 | −(R1 + k_AB) | ✓ exact |
| Nx_A, Nx_B | +285.0000 | +285.0000 | k_BA | ✓ exact |
| Nx_B, Nx_A | +15.0000 | +15.0000 | k_AB | ✓ exact |
| Nx_B, Nx_B | −286.9292 | −286.9292 | −(R2 + k_BA) | ✓ exact |
| Nx_B, Ny_B | +764.2356 | −764.0036 | Δω (2 ppm) | sign + 0.03 % |

## 6.4  Eigenvalues

The most convention-independent test — eigenvalues are basis-independent:

| # | Ours | ChemEx | Interpretation |
| --- | --- | --- | --- |
| 1 | −300.5359 | −300.5359 | longitudinal exchange mode |
| 2 | −288.7159 − 759.2445i | −288.7169 − 759.0113i | state-B transverse |
| 3 | −288.7159 + 759.2445i | −288.7169 + 759.0113i | state-B transverse |
| 4 | −15.1426 − 4.9910i | −15.1416 − 4.9922i | state-A transverse (observed) |
| 5 | −15.1426 + 4.9910i | −15.1416 + 4.9922i | state-A transverse (observed) |
| 6 | −0.5359 | −0.5359 | R1 relaxation |

## 6.5  The two residual differences

- Sign of Δω. Our rotation runs the opposite way round the z axis from ChemEx's. This is a frame convention only: R₂,eff depends on Δω², so no observable is affected. The eigenvalues confirm this — they occur in the same complex-conjugate pairs.

- Magnitude of Δω, 0.03 %. We compute the 15N frequency per ppm as γN/γH = −0.101359, giving −382.1178 rad s⁻¹. ChemEx uses the IUPAC Ξ ratio for biomolecular NMR (Markley et al., 1998), Ξ = 0.1013291, giving +382.0018 rad s⁻¹. ChemEx's value is the more standard choice for referencing.

Conclusion of the matrix comparison

Apart from a frame-orientation convention and a 0.03 % difference in a referencing constant, the two Liouvillians are the same matrix. Our implementation of the Allard-1998 relaxation physics is confirmed correct against an independent, widely used reference code.

# 7.  Reproducing this comparison

Our side of the matrix:

from cpmg_ml.simulator import CPMGSimulator

import numpy as np

s     = CPMGSimulator()

B0    = 2*np.pi*600e6 / 267.522e6          # 14.091967 T

magic = np.arccos(1/np.sqrt(3))            # 54.7356°

L_A = s.build_16x16(B0, 5e-9, 50e-12, 1.0, 1e-6, 1.79e-10,

-160e-6, magic, 0.0, 0.0)

L_B = s.build_16x16(B0, 5e-9, 50e-12, 1.0, 1e-6, 1.79e-10,

-160e-6, magic, 0.0, dw_rad)

ChemEx's side:

from chemex.models.loader import register_kinetic_settings

from chemex.models.model    import ModelSpec

from chemex.nmr.basis       import Basis

from chemex.nmr.spectrometer import Spectrometer

from chemex.parameters.spin_system import SpinSystem

from chemex.configuration.conditions import Conditions

register_kinetic_settings()

basis  = Basis(type="ixyz", spin_system="nh",

model=ModelSpec.from_name("2st"))

spec   = Spectrometer.from_spin_system(

SpinSystem.from_name("1N-HN"), basis,

Conditions(h_larmor_frq=600.0))

spec.carrier_i = 0.0

spec.update({"r2_i_a": 1.929249, "r2_i_b": 1.929249,

"r1_i_a": 0.535868, "r1_i_b": 0.535868,

"cs_i_a": 0.0,      "cs_i_b": 2.0,

"kab": 15.0,        "kba": 285.0})

L_chemex = spec._engine.l_free            # the 6×6 matrix

Forward-model curves in either pulse sequence (Section 9):

p_home   = sim.simulate_cpmg(params, sequence="home")

p_chemex = sim.simulate_cpmg(params, sequence="chemex")

# NOTE: ncyc means different things in the two modes --

#   home   : ncyc = total refocusing-pulse count

#   chemex : ncyc = pulses per half-train (real total = 2*ncyc + 1)

# Compare the two on the physical nu_CPMG axis, not on ncyc.

# 8.  Where the disagreement actually lives

Since the Liouvillians match, the fitted-parameter discrepancy must arise in the pulse sequence. Driving both sequence definitions from the identical 6 × 6 matrix isolated three convention mismatches:

|  | Our simulator | ChemEx cpmg_15n_ip |
| --- | --- | --- |
| Refocusing pulses per labelled ncyc | ncyc | 2 × ncyc (two mirrored half-trains around a central compensating 180°) |
| τcp | (T − ncyc·t₁₈₀) / (2·ncyc) | time_t2/(4·ncyc) − pw90 |
| Reported νCPMG | 1/(4τcp) — pulse-width exclusive | ncyc/time_t2 — pulse-width inclusive |
| Excitation / detection | starts on Nx, reads Nx | explicit 90° pulses, t_neg correction, time_equil delays, ncyc = 0 reference |

To answer a question raised in review: our τcp does correctly account for finite pulse width — it subtracts the total 180°-pulse time from the relaxation delay before dividing. The “exclusive/inclusive” distinction above concerns only the frequency value reported on the x axis, not the propagation.

## 8.1  Correction applied and outcome

- The ncyc column written to ChemEx .out files is now ncyc_home / 2.

- time_t2 in the experiment TOML corrected from 0.068 s to 0.04 s, matching t_relax.

Grouped fits over 1500 synthetic profiles (100 k_ex × p_B groups, 15 Δω values each, two fields), before and after:

| Parameter | Before fix | After fix | Truth |
| --- | --- | --- | --- |
| PB | 0.292 | 0.0532 ± 0.0039 (+5.4 %) | 0.050 – 0.070 |
| KEX_AB | roughly recovered | −5.1 % ± 7.7 % | 300 – 2000 s⁻¹ |
| DW_AB | roughly recovered | +0.008 ± 0.040 ppm | 1.0 – 6.0 ppm |

The gross six-fold PB bias is removed. The residual ~5 % bias was initially attributed to the remaining structural difference in the sequences. Section 9 tests that hypothesis directly and shows it is only partly correct.

# 9.  Matched-sequence validation

Sections 6 and 8 leave one loose end. The Liouvillians match, and the ncyc/time_t2 conventions have been corrected, but our simulator and ChemEx were still running structurally different pulse sequences. Any remaining discrepancy could therefore be sequence, physics, or both — the comparison could not separate them.

To close this, the simulator gained a second pulse-sequence mode that reproduces ChemEx's cpmg_15n_ip sequence exactly, while still propagating the full 32 × 32 Allard physics. Selecting it is a single argument:

sim.simulate_cpmg(params, sequence="home")     # our own idealised train (default)

sim.simulate_cpmg(params, sequence="chemex")   # ChemEx cpmg_15n_ip sequence

## 9.1  What the ChemEx-sequence mode implements

| Element | Our original 'home' train | ChemEx sequence mode |
| --- | --- | --- |
| Excitation | starts directly on Nx | explicit 90°x pulse from thermal Nz |
| Finite-pulse correction | none | t_neg = −2·pw90/π (a negative-duration delay) |
| Refocusing train | ncyc × (τ–180x–τ) | two mirrored half-trains of ncyc × (τ–180y–τ) |
| Central pulse | none | p180pmx, the +x/−x phase-cycled average |
| Detection | reads Nx directly | 90°x, t_neg, time_equil, then read Nz of state A |
| Reference point | none | ncyc = 0: 90°–p180pmx–90° with no CPMG delay |

An implementation subtlety worth recording

Validating this mode initially left a stubborn ~5 % residual at low ncyc that no sign or phase convention would remove. Systematic ablation — swapping ChemEx's own propagators in one at a time — traced it to the detection operator. ChemEx's cpmg_15n_ip declares suffix_detect = "_a", so it detects ONLY the ground state's Nz, not the population-weighted sum over both exchanging states. Matching that convention reduced the discrepancy by a factor of 77.

## 9.2  Three-way comparison

With the matched-sequence mode available, three forward models can be computed and the two effects cleanly separated. No fitting is involved anywhere.

| Curve | Sequence | Physics | Isolates |
| --- | --- | --- | --- |
| 1 | home | our 32 × 32 | — |
| 2 | ChemEx | our 32 × 32 | vs 1: sequence effect alone |
| 3 | ChemEx | ChemEx 6 × 6 | vs 2: physics effect alone |

Figure 1. Left: in the idealised limit curves 2 and 3 are indistinguishable — identical sequence and (as Section 6 proved) identical Liouvillian. Right: with full physics, curves 2 and 3 separate substantially even though the sequence is the same, exposing the basis limitation. Plotted against the physical nu_CPMG axis so the differing ncyc conventions cannot distort the comparison.

## 9.3  Quantitative result

| Case | Rex curve 1 (home seq) | Rex curve 2 (ChemEx seq, our physics) | Rex curve 3 (real ChemEx) | Physics gap (2 vs 3) |
| --- | --- | --- | --- | --- |
| Idealised single-spin limit | 8.4215 | 7.2061 | 7.2008 | 0.0061 s⁻¹ (0.066 %) |
| Full physics | 11.6976 | 10.4847 | 7.2008 | 2.9031 s⁻¹ (20.6 %) |

The decisive numbers

In the idealised limit, matching the sequence brings our simulator and ChemEx to within 0.066 % — a 77-fold improvement over the 5 % residual seen before, and now at the level of the 0.03 % gyromagnetic-ratio convention difference identified in Section 6.5. This is as close to exact agreement as the two codes can get, and it confirms there is no residual bug on either side.

With full physics and the SAME sequence, a 20.6 % gap in Rex remains (10.48 vs 7.20 s⁻¹). Because the sequence is now identical, this gap is unambiguously a physics-model difference: the proton bath, CSA–DD cross-correlation and scalar coupling that ChemEx's three-operator basis cannot represent.

## 9.4  Interpretation

- The sequence effect is real but modest. Comparing curves 1 and 2 (identical physics), the home train overestimates Rex by roughly 1.2 s⁻¹ in both cases — an artefact of not modelling the excitation pulses, the finite-pulse correction and the central compensating 180°.

- The physics effect dominates for real NH systems. At realistic J, CSA–DD angle and bond length, the basis limitation contributes a 20.6 % Rex difference — an order of magnitude larger than the sequence effect, and it does not diminish as the sequence is refined.

- This justifies the larger simulator. The 20.6 % figure is the quantitative answer to "what does the 32 × 32 treatment buy us over ChemEx's cpmg_15n_ip model?" — measured with sequence and timing conventions fully controlled, so it cannot be dismissed as a bookkeeping artefact.

All numerical values in this report were generated directly from the two codebases; no figures were transcribed by hand.